## Slide 1: Security document (Prototype)
Ian Roberson, Justin Carney, Charles Smith

## Slide 2: HvaC
Known Exploits:
Thermistor can be tampered with by using insulators or cooling agent
Fans can be physically blocked from spinning
Damaged/tampered hardware
Damage Potential:
If the floor were to hold instruments that are temperature sensitive, they can be damaged due to an inactive HVAC
Potential Remedies:
Physical guards/regular inspection
Protective case for thermistor/thermistors
Fans can be programed to detect blockage

## Slide 3: UI
Known Exploits:
Spoofing
Eavesdrop
Damaged/tampered hardware
Damage Potential:
If the UI can rewrite like the temperature, then those values can be changed to be harmful
UI can shut down all functions of the
Potential Remedies:
Physical guards/regular inspection
Secure location
Place wires in the walls/have a physical barrier of some sort

## Slide 4: Elevator
Known Exploits:
Physical blockage
Damaged/tampered hardware
Damage Potential:
Complete/partial destruction of elevator system
Potential harm to elevator occupants
Potential Remedies:
Scan for potential blockage
Physical guards/regular inspection
Emergency stop if blockage is detected
Sonar

## Slide 5: Hall motion
Known Exploits:
Infrared/sound absorption materials
Damaged/tampered hardware
Damage Potential:
Undetected and unauthorized access to building
Potential Remedies:
Physical guards/regular inspection
Multiple sensors within reach of each other